## Abstract
PROJECT : PROPOSED CONSTRUCTION OF RASHTROTHANA VIDYA KENDRA AT HAVERI
PHASE-I Building work Summary
Total Area (2F+3F) = 40,500 Sft
Sl no | Description | Amount | Remarks
1 | Demolishion works | 0
2 | REINFORCED CEMEMNT CONCRETE
| Below Plinth Level | 0
| Above Plinth Level | 0
3 | REINFORCEMENT STEEL. | 0
4 | MASONRY WORK | 0
5 | PLASTERING WORK | 0
6 | FLOORING WORK | 0
7 | PAINTING WORK | 0
8 | DOOR, WINDOWS, VENTILATORS | 0
9 | MISCELLANEOUS WORK | 0
10 | LIGHT WEIGHT ROOF STRUCTURE | 0
| TOTAL VALUE OF CIVIL WORKS | 0
| GST 18% | 0
| Total With GST | 0
| PLUMBING WORK | 0
| ELECTRICAL WORK | 0
| GRAND TOTAL | 0
| COST PER SFT | 0

## Basic Rates
PROJECT : PROPOSED CONSTRUCTION OF 2nd FLOOR RASHTROTHANA VIDYA KENDRA AT HANAGAL
Basic Rates of Materials EXCLUDING GST
Sl no | Materials | Unit | Rate
1 | Cement | Bag | 260
2 | Reinforcement Steel | MT | 55000
3 | RMC-M10 | CMT | 3600
4 | RMC-M25 | CMT | 4600
5 | RMC-M30 | CMT | 4800
6 | Vitrified tile | SFT | 60
7 | Vitrified tile | SFT | 60
8 | Sadarahally Granite | SFT | 75
9 | 10mm Hassan green granite | SFT | 50
10 | 20mm Hassan green granite | SFT | 110
11 | Teak wood (1st Quality) | CFT | 8500
12 | Structural steel | MT | 65000
13 | Concrete Block-200mm | No's | 45
14 | Concrete Block-150mm | No's | 38
15 | Concrete Block-100mm | No's | 30
16 | Red Sal Wood | Cft | 2000
17 | Flush Door(Century or Eq) | Sft | 250
18 | Laminate (Greenlam or Merino) | Sft | 100
19 | Hard ware Cost for each Room door | Each door | 3000

## Abstract
PROJECT : PROPOSED CONSTRUCTION OF 2nd FLOOR RASHTROTHANA VIDYA KENDRA AT HANAGAL
BILL OF QUANTITIES
Built up Area
| Second Floor | Sqm | 1850 | Sft | 19898.6
| Third floor | Sqm | 1850 | Sft | 19898.6
| Head Rooms | Sqm | 65.3 | Sft | 702.3668
| Total | Sqm | 3765.3 | Sft | 40499.5668
SL NO | DESCRIPTION OF ITEM | UNIT | QUANTITY | RATE | AMOUNT | REMARKS
1 | Demolition works
a | Removing of existing dummy concrete of the existing coloumns. | Cum | 10 |  | 0 |  |  | 198
b | Breaking of block masonry around dummy coloumn. | Sqm | 200 |  | 0
c | Providing applying of Nitto Bond to old concrete. | Ltrs | 8 |  | 0
2 | Stalking & Disposal of debrise out of site | Cum | 200 |  | 0
| Sub Total – Demolition |  |  |  | 0
3 | REINFORCED CEMENT CONCRETE
PREAMBLE FOR R.C.C. WORKS (FOR RMC)
RATE QUOTED SHOULD INCLUDE FOR THE FOLLOWING:
All concrete used for reinforced concrete work (structural concrete) shall be "Controlled concrete" and the use of weight batching is a must and shall be insisted upon.
While quoting for structural concrete work contractors are particularly advised to study the relevant drawings carefully before quoting.
Contractor shall quote the rates including all forms of wastage. The contractor shall immediately rectify / grind the concrete joints, bulged surfaces concrete spillages etc., immediately after striking out the form work as per the instructions of EIC.
a. A thick coat of slurry if the joint is less than 3 days old.
b. A thick coat of slurry with latex based admixture like Nito bond or equivalent , if the joint is less than 7 days old.
c. A coat of epoxy to be applied, if it is more than 7 days.
d. Construction joints in columns, walls shall be horizontal, Slabs/ beams as per drawing and all the latent concrete shall be removed after final setting and shall be given a coat of thick slurry if the joint is below the floor level and mortar poured from the top mix proportion equal to that of concrete.
e. For Construction joints, Stoppers to be removed immediately after initial setting time and the surface should be roughened thoroughly by compressed jet water wash.
e. Raking of shuttering plate joints in slabs using grinder & making good any visible honey comb as per the directions of EIC.
f. For all structural concrete elements post construction dimension and levels shall be documented and submitted .
g. In case Client insist for using river sand in lieu of M-sand, the difference in rate will only be paid.
h. Bolt holes to be properly made good with suitable grouting material as per the directions of EIC.
Providing & laying all grades of concrete including pumping as specified in (IS 1200) at any depth or heights excluding the cost of steel reinforcement and Including of Shuttering / Formwork. The rate shall include for providing scaffolding, compacting by vibration, curing, hacking (wherever required and also to receive plaster) and providing recess in walls or columns, sleeves in slabs, construction joints, sunk slabs, cantilever slabs, making holes or cutting formwork for taking out Electrical conduits or dowels for columns, Staircase & for any other RCC members, to the required shape, size, slope shown in drawings for the following items of work.
PREAMBLE FOR FORM WORKS
CONVENTIONAL TYPE SHUTTERING
Providing, fabricating and erecting form work at all levels and places and profiles wherever needed/ specified as per drawing including deshuttering, with 12 mm Plastic coated, marine resistant waterproof ply/ Smooth finished MS plates with adjustable steel props of acceptable Staging system and with sufficient bracing as approved by consultant. Cost to include designing of proper form work and staging system to suit the requirements, Submission of design calculations and shop drawings for approval, sealing the joints with heavy duty brown self adhesive tape, aligning to line and levels including M.S. Ties, PVC Spacer, Providing openings/ cutouts/ pockets, provision for dowels wherever specified, applying deshuttering chemical, Deshuttering as approved by the consultant etc., complete at all levels, double/ triple heights and profiles.
Contractors shall submit drawings showing the scheme of form work (shuttering) for all items of work detailed as under.
1) Minimum of 12 mm thick plywood shuttering of suitable density and confirming to IS 4990:2011 shall be considered for all vertical elements, beams, soffit, walls, stairs, ramps, tanks, RCC pedestals Etc.,
2) M.S. plates shall be considered for slabs & Foundations only.
3) Contractors shall submit drawings showing the scheme of form work (shuttering) for beams and slabs, areas which project out at various levels as indicated in drgs and this shall be obligatory.
4) Formwork designed with proposed materials (to be approved prior to making) shall be able to retain its shape, line, dimension, level within the allowable limits of variations. Props shall be only steel props.
5) Formwork shall be designed for rigidity, durability, strength, water tightness, easy removal etc.,
6) Necessary arrangement shall be envisaged to provide camber in beams or slabs as per design.
7) Formwork for construction joints shall be submitted for approval.
8) Backproping sequence shall be as per relevant IS code & as approved by EIC.
9) Shuttering & deshuttering sequence shall be 100% ,80% & 40% from the slab to be cast respectively & also to conform to relevant IS code.
8) Bolt holes in the formwork if any , to be properly made good and plugged by suitable means to avoid leakage of slurry.
Above Plinth Level
3.a | M30 Grade for Columns | Cum | 90 |  | 0
3.b | M25 Grade for Roof Beams | Cum | 190 |  | 0
3.c | M25 Grade for Roof Slab | Cum | 280 |  | 0
3.d | M25 Grade for Lintels | Cum | 10 |  | 0
3.e | M25 Grade for Staircase | Cum | 10 |  | 0
3.f | M25 Grade for Chajja | Sqm | 65 |  | 0
3.g | M10 Grade for Dummy Columns | Cum | 16 |  | 0
| Sub Total – Above plinth Lvl |  |  |  | 0
4 | STEEL WORKS
REINFORCEMENT STEEL.
Basic price of Steel : Rs.55,000/MT
| Straightening, cutting, bending and tying in position reinforcement for RCC work with high yield strength ribbed cold twisted tor steel (HSD) bar of various diameters and grade of steel as specified below conforming to IS-1786-2008 specification including cutting and waste, bending, hoisting, fabricating and placing in position according to drawings and binding the reinforcement with galvanised annealed binding wire of double fold of 18 gauge and providing Concrete PVC cover blocks (Same strength of concrete) for placing the reinforcements in position and for maintaining the cover specified in IS-1786-2008. | M.T | 80 |  | 0
| Note : Unless noted otherwise the measurements in accordance with IS.2502.1963.However reinforcement shall be measured only in lengths of bars as actually placed in position on standard weight basis, no allowance being made in the weight for rolling margin. Authorised laps and splices only will be measured. Chairs of any shape & profile, Spacer bar of any shape & profile, cover block, wastage and binding wire will not be measured and shall be included in the quoted rates. Quoted rate shall be deemed to have considered the above stipulation. Quoted rate to include lead, lift, placing at all levels and as directed. |  |  |  | 0
| SUB Total |  |  |  | 0
5 | MASONRY WORK
5.1 | PREAMBLE
a | Manufactured sand (M-sand) confirming to approved gradation.
b | In case Client insist for using river sand in lieu of M-sand, the difference in rate will only be paid.
c | Having block density not less than 1800Kg/Cum and Min avarage compressive strenth 4N/Sqm confirming to IS 2185 (Part-I) 2005 and constructed as per IS 2572:2005.
5.2 | LIGHT WEIGHT BLOCK MASONRY
5.2a | Providing and constructing non load bearing wall with Light Weight Concrete (Autoclaved aerated concrete) Blocks confirming to IS:2185 (Part-3) 1984 and IS 6441-1972 of compressive strength of 3.0N/sq mm with a thin layer of polymer based jointing solvent for super structure with necessary scaffolding, curing including cost of all materials, labour, lead & lift etc, complete as per specifications. 600X200X200 | Sqm | 1700 |  | 0
5.2b | Providing and constructing non load bearing wall with Light Weight Concrete (Autoclaved aerated concrete) Blocks confirming to IS:2185 (Part-3) 1984 and IS 6441-1972 of compressive strength of 3.0N/sq mm with a thin layer of polymer based jointing solvent for super structure with necessary scaffolding, curing including cost of all materials, labour, lead & lift etc, complete as per specifications. 600X150X200 | Sqm | 800 |  | 0
5.2c | Providing and constructing non load bearing wall with Light Weight Concrete (Autoclaved aerated concrete) Blocks confirming to IS:2185 (Part-3) 1984 and IS 6441-1972 of compressive strength of 3.0N/sq mm with a thin layer of polymer based jointing solvent for super structure with necessary scaffolding, curing including cost of all materials, labour, lead & lift etc, complete as per specifications. 600X050X200 | Sqm | 220 |  | 0
| SUB Total |  |  |  | 0
6 | PLASTERING WORK
PREMABLE
Quoted rate to include to achieve true to square, line and level for all openings by providing/using suitable template (made of aluminum sections) in order to maintain uniformity and standardisation in size of openings . If plastering to the openings done does not comply to required standards, the same needs to be done/corrected at the contractor's cost.
In case Client insist for using river sand in lieu of M-sand, the difference in rate will only be paid.
Manufactured sand (M-sand) confirming to approved gradation, admixture of approved make (FOSROC or equivalent) and dosage as per manufacturer specification to be used in all plastering works.
Provide 6" wide x 0.35mm thick GI plaster mesh for electrical chasing and fixing Corner Bead of size 45 x 45 mm made out of galvanized iron of nominal thickness of 0.45 mm Arpitha / Equivalent make, made out of galvanized iron with a Zinc coating of 120 gms per Sqm,fixed at the junctions of Masonry and concrete works and other locations as specified by the Engineer Incharge.
6.1 | Providing Internal Plastering with 15mm thick CM 1 : 6 for wall and 12mm Thick CM 1:4 for ceiling with lime rendering including dash coat of Cement mortar for fixing GI expanded mesh, necessary scaffolding and curing etc., complete as per specification. For Internal walls / ceiling / sides of beams and other vertical surfaces(Note:. P&F of GI mesh is included)
| a) Ceilings with 12mm Thick CM 1:4. | Sqm | 1900 |  | 0
| b) Internal wall with 15mm thick CM 1 : 6. | Sqm | 3850 |  | 0
| c) Rough Plastering – 12mm thick single coat with CM 1:6. | Sqm | 1100 |  | 0
6.2 | Providing External plastering 20 mm thk. In CM 1 : 4( 1 Cement : 4 M-sand) sponge finish, rate to include Integral waterproofing compound 2% by weight for both coats, as per manufacturers specifications, including providing necessary steel scaffolding and curing. etc complete. GI mesh of Arpitha make or equivalent to be fixed at the junction of dissimilar materials by necessary fasteners, providing drip moulds, Plastering at all levels, including slab projections, Chejja’s and as per drawings / as per instructions of EIC. Cost of fixing mesh shall be included in the rates.
| a) External walls with CM 1:4 | Sqm | 2800 |  | 0
| SUB Total-Plastering |  |  |  | 0
7 | FLOORING/DADOING/TILING WORK
PREAMBLE
a)The brand name/local name specified for coloured marble/granite/Vetrified/Ceramic/Glazed tiles flooring or dadoing are meant for the approved quality available in the region. b) The work shall include Cementitious Polymer Grout for other than toilet area and epoxy grout for toilet area, Laticrete/ Bal Endura or equivalent as manufacturers specifications & drawings. c) The newly laid floor shall be covered with 4mm thick bubble guard polythene sheet by covering the entire finished surface as directed till the finished items like painting/polishing etc,. Are completed inside the building. This shall be done irrespective of, whether mentioned in the individual flooring items or not at no extra cost. d) Works to be carried out at all levels. e) For all exposed granite works the edges should be polished and chamfered as per drawing and direction of engineer in charge.
7.1 | Providing , storing and laying of 10mm thick polished, Full body vitrified tiles of 600X1200mm approved colour,size and make for flooring at all levels, fixed on 12mm thick cement mortar bed of 1:4 mix with water proofing compound and finishing joints with matching colour pigment cement etc.. as per specification & drawings and as per the directions of Engineer-in Charge.(grouting with CEMENT BASED GROUT of BAL-ENDURA / LATICRETE or equivalent etc.,) Basic Rate : Rs 60/Sft Location : Rooms | Sqm | RO
7.2 | Same as above but for skirting 100mm in height etc (grouting with CEMENT BASED GROUT of BAL-ENDURA / LATICRETE or equivalent etc.,) | Rmt | RO
7.3 | Providing, cutting to required size & Laying of 18-20 mm thick pre-polished Granite of approved colour and finish as per specified pattern(Borders) for flooring, laid over avg 30 mm thick cement mortar bed of 1:4 (1 Cement: 4 M-sand) over which cement slurry @3.3kg/m applied , pointing with suitable matching cement based BAL make or approved equivalent, cleaning & washing with diluted detergent, & remove cement mortar deposits, including cleaning , & providing protection sheet with 275 GSM – 2 mm thick Floor guard make or equivalent, joints to be taped, should remain intact till handing over, removed & disposed out of site after completion, etc., complete. BASIC RATE : Rs 90/sft Location : Corridor & wherever directed by EIC. | Sqm | 800 |  | 0 |  |  |  | 12772
7.4 | Providing, cutting to required size & Laying of 18-20 mm thick pre-polished Granite of approved colour and finish as per specified pattern(Borders) for flooring, laid over avg 30 mm thick cement mortar bed of 1:4 (1 Cement: 4 M-sand) over which cement slurry @3.3kg/m applied , pointing with suitable matching cement based BAL make or approved equivalent, cleaning & washing with diluted detergent, & remove cement mortar deposits, including cleaning , & providing protection sheet with 275 GSM – 2 mm thick Floor guard make or equivalent, joints to be taped, should remain intact till handing over, removed & disposed out of site after completion, etc., complete. BASIC RATE : Rs 75/sft Location : Class rooms & wherever directed by EIC. | Sqm | 2700 |  | 0 |  |  |  | 8549
7.5 | Providing , Storing and Dadoing of approved colour,size and make Full body vetrfide Tiles of size 1200mmX600mm fixed on 12mm thick cement mortar bed of 1:4 mix with 75mm border on top and bottom and finishing joints with matching colour pigment cement etc.. as per specification & drawings and as per the directions of Engineer-in Charge. (grouting with CEMENT BASED GROUT of BAL-ENDURA / LATICRETE or equivalent etc.,) Location : Corridor, Class rooms & Staircase BASIC RATE : Full body Vetrified : Rs 60/Sft | Sqm | 2000 |  | 0 |  |  |  | 4223
7.6 | Providing , Storing and Dadoing of approved colour,size and make Full body vetrfide Tiles of size 1200mmX600mm fixed on 12mm thick cement mortar bed of 1:4 mix and finishing joints with matching colour pigment cement etc.. as per specification & drawings and as per the directions of Engineer-in Charge.(Grouting with CEMENT BASED GROUT of BAL-ENDURA / LATICRETE or equivalent etc.,) Location : Bathroom / Toilets / All walls BASIC RATE : Full body Vetrified : Rs 50/Sft | Sqm | 650 |  | 0 |  |  |  | 392.4721 | 27897556 | 32100000
7.7 | Providing & Laying Matt finish Vitrified Tiles for Flooring of approved make, colour and thickness laid over CM 1 : 6 (1 Cement: 6 M-sand) of average 30 mm thickness and cement slurry @ 3.3 kg/ sqm, tamped, laid to required line & level, including cutting of tiles. Rate to include for providing & cleaned & washed with suitable effective Cleaning agent or any suitable means as per instructions of EIC, covering to protect tile with 275 GSM – 2 mm thick Floor guard make or equivalent, joints to be taped, should remain intact till handing over, removed & disposed out of site after completion, etc., complete. SIZE OF TILE: 600X600mm LOCATION : Bathroom / Toilets Basic price : Matt finish vitrified tile : Rs 50/Sft (grouting with CEMENT BASED GROUT of BAL-ENDURA / LATICRETE or equivalent etc.,) | Sqm | 210 |  | 0 |  |  |  |  | 19906 | 1612.5791
7.8 | Providing and laying water cut/water approved polished Granite of approved quality and colour for treads and risers with bull nosing (Nosing surface to be polished) and groves for Staircase treads 20mm thick, over a bed of 20mm thick CM 1:4 proportion, with exposed edges polished with necessary pointing etc., complete as per pattern & details of Architects including polishing, curing etc., complete as per instructions of engineer in charge. BASIC RATE : Rs.90/sft (grouting with CEMENT BASED GROUT of BAL-ENDURA / LATICRETE or equivalent etc.,) | Sqm | 130 |  | 0 |  |  |  |  | 1401.4647
7.9 | Providing and laying with water cut water polished Granite for window sills of 200mm wide (Minimum) in CM 1:4 set in wet cement back including necessary chasing and roughening of wall, with bull nosing or chamfered(Nosing surface to be polished) to exposed edges, all materials, pointing with necessary cement grout of approved shade and make, labour etc., complete as per instructions of engineer in charge. BASIC RATE : Rs.80/sft | Rmt | 400 |  | 0 |  | #REF!
7.10 | Providing and fixing with water cut water 20mm polished Granite above Corridor cladding beyond window sill with 45 mm projection (Minimum) & 30mm fixed inside the wall by making groov (Top of Corridor cladding) in CM 1:4 set in wet cement back including necessary chasing and roughening of wall, with bull nosing or chamfered(Nosing surface to be polished) to exposed edges, all materials, pointing with necessary cement grout of approved shade and make, labour etc., complete as per instructions of engineer in charge. BASIC RATE : Rs.80/sft | Rmt | 1600 |  | 0
7.11 | Providing, cutting to required size & Laying of 18-20 mm thick double polished Granite of approved colour and finish as per specified design for urinal partition fixed to wall by making groov in it and pointing with suitable matching cement based BAL make or approved equivalent, cleaning & washing with diluted detergent, & remove cement mortar deposits, including cleaning, full nosing and edge polishing etc complete,. BASIC RATE : Rs 110/sft Location : URINAL PARTITION | Sqm | 30 |  | 0
| Sub Total – Flooring & Cladding |  |  |  | 0
8 | PAINTING WORK
PREAMBLE
(i) Flat surface area will be measured for payment for all types of painting. (ii) No additional coefficient will be considered for painting over uneven surface unless otherwise specified. (iii) Paints with low VOC to be used for all painting works.
8.1 | Providing and applying Interior grade emulsion paint (Premium range) of approved make and colour as per manufacturer's specifications, in two coats to get an even finish and shade obtained, including one coat primer, three coats of cement putty,including necessary sand papering & preparation of surface, Cleaning after completion, etc, complete and as directed by engineer-in-charge for walls, beams, columns, fins, etc complete..
| a) Ceiling | Sqm | 1900 |  | 0
| b) Internal Walls | Sqm | 3500 |  | 0
8.2 | Providing & painting two coats of Exterior grade Apex paint (Premium range) of approved colour & shade to external surfaces including one coat of primer and two coats of putty including necessary scaffolding, cleaning of paint stains where ever necessary etc.,complete with all lead and lift as directed by the engineer in charge at all levels | Sqm | 2800 |  | 0
| Sub Total |  |  |  | 0
9 | DOOR, WINDOWS, VENTILATORS
9.1 | Supplying and fixing doors with Red Sal wood frame of 125X65mm with 32mm thick Single /double shutter Flush doors of approved make and approved make laminate finish on both sides and 5mm fixed frosted glass for 300mm ventilator above door. The frame shall be fixed on to wall with M.S Holdfast (4 Nos ) 4 No SS hinges including all necessary hardware & accessories, two coats of approved shade enamual paint over coate of primer etc., complete all as per architectural specification and instruction. | Sqm | 130 |  | 0
9.2 | Providing and fixing approved make plain Wood Polymer Composite (WPC) Door with shutter and Frame are made of solid WPC material which is extruded from WPC compound. With following specifications. i) Composition is 70% virgin polymer, 15% additive chemical, and 15% wood powder. ii) Density (Min) 950 kg/cum for frame & 550 Kg/Cum for shutter iii)Average compressive strength of 33.7 MPa at normal temperature (20°C). iv) Solid WPC Panel Door (Plain) - 28mm. v) Solid WPC Door Frame - 75mm X 50mm. Rate to be inclussive of all necessary hardware & accessories etc., complete all as per architectural specification and instruction, with two coats of approved shade enamual paint over a coate of primer. Location : TOILET. Consider basic Rate per Sft - 275rs/Sft Excluding hardware | Sqm | 115 |  | 0
9.5 | Providing and fixing M.S. Grills for Windows & Ventilators on external wall & Top of compound wall as per architectural design and detail (weight not less than 16kg/sqm) Finishing the grills with two coats of approved quality enamel paint over coat of red oxide primer, work at all heights etc., complete. as per the drawings and instruction of the Engineer In charge . | Kgs | 5200 |  | 0 |  | Wp 10 lac
| SUB Total |  |  |  | 0
10 | WATER PROOFING WORKS
A | Toilet water proofing
10.A1 | Bore Packing: Using free flow, high strength, Non shrink, Cementitious precision grout Fosroc Conbextra GP2 and top coat of Fosroc SBR Latex | nos | 220 |  | 0
10.A2 | Providing waterproofing treatment for Sunken portion of toilets or any other area by applying two coats of Fosorc Brush Bond polymer modified coating.Ponding and testing the surface for any leakages( 24hours) as per manufactures specifications over surface providing 20 mm thick plastering in CM 1:4 for wall mixed with waterproofing compound, dosage as per manufacture specification. The rate shall include all lead , lift and curing, etc. complete as per specification and directions of Engineer-in-charge. The crystallization type waterproofing system shall be cured for minimum of five days. The rate shall include surface preparation , The gap between the vertical bores and pipes shall be packed using non shrink grout , construction joints “V” grooves shall be cut along concrete/ masonry junctions, cracks and the same shall be filled with polymer modified mortar with proper coving at corners. | Sqm | 400 |  | 0
The area to be waterproofed shall be ponded with water and leakage / dampness if any shall be marked . Nipples shall be fixed at weak locations, wherever leakage persists and along construction joints and pressure grouted using neat cement slurry admixed with grouting additive. The completed toilet shall be filled with water to ensure water tightness . The system should be as per approved method / specification and directions of Engineer-in-charge. Mode of Measurement : Floor area + wall upto 300mm height / Shower area wall & adjacent to bath tub wall: 2.1m height + Non-shower area wall: 0.3m height.
10.A3 | Brick bat Filling: Brick bat shall be laid on 20mm thick bed of 1:4 CM admixed with “Fosroc” Conplast WL Xtra 200 ml per bag of cement , filling joints of 15 to 20 mm wide between the brick bats and 20-25 mm thick top spread over brick bats. | Cum | 30 |  | 0
B | Terrace water proofing
1 | Inital Ponding test on Mother Slab find out any leakages
2 | If any leakage observed same shall be grouted by fixing brass nozzel fixed at 150mm c/c and injecting SW Pu 200 PU grouting material. | Nos. | RO
3 | Providing and laying 75mm to 100mm thick Brick bat coba over the 1:2:4 admixed with waterproofing compound and finishing smooth to the required slope with vatta with 300mmx300mm checks, complete. Only rough finishing with rough trowel as per our specification. Ponding and testing the surface for any leakages( 24hours) with mechanical trowelling . The system should be as per approved method / specification and directions of Engineer-in-charge. Mode of Measurement : Surface area | Sqm | 200 |  | 0
| Additional thickness | Cum | RO
| Sub Total |  |  |  | 0
11 | MISCELLANEOUS WORKS
11.a | Providing and fixing 1000mm high stainless steel (Grade 304) railing made of Hollow tubes, channels, plates etc., including, welding, grinding, buffing, polishing and making curvature (wherever required) and fitting the same with necessary stainless steel nuts and bolts complete, i/c fixing the railing with necessary accessories & stainless steel dash fasteners, stainless steel bolts etc., of required size, on the top of the floor or the side of waist slab with suitable arrangement as per approval of steel bolts etc., of required size, on the top of the floor or the side of waist slab with suitable arrangement as per approval of Engineer-in-charge. - For Entrance, Ramp | Sqm | 65 |  | 0
11.b | Providing and fixing "M.S. Railing" as per architectural design and detail & Finishing the railing with two coats of approved quality enamel paint over coat of red oxide primer, work at all heights etc., complete. as per the drawings and instruction of the Engineer In charge. Top rail will be of 50mm Dia SS Pipe and Verticals will be 36mm x 36mm aquare pipe and in between Vertical pipes top and bottom 35mm x 6mm thick flat to be welded with 12mm dia verticals at Eq distance welded to top & bottom flat. | Sqm | 100 |  | 0
| Sub Total |  |  |  | 0
3rd floor Roof Structure
12 | Structural Steel - Truss Work
12.1 | Supplying, fabricating & erecting in position the following items of work as per drawings/ details, hoisting & fixing in position, including all temporary staging, supporting work & making all structural steel work in accordance with IS : 800. The rate of steel work shall include cutting, bending, grinding, machining, assembly, welding, jointing, building up new sections, cost of fasteners (nuts, bolts and washers),Cost to include welding of members using structural steel welding electrodes as per IS 814/ 816/ 817, testing as per IS 7307 (PART 1) and also erection / lifting equipments / derick / hoists of suitable capacity and related accessories required for entire duration of the work. Fabrication will involve connections using plates, channels and angles, base plates, gusset plates, hold down bolts, cleats, fasteners, drilling of holes in plates/ angles etc., as per drawing, steel conforming to IS : 226 and IS : 2062 with minimum yield strength of 250 Mpa and up to 355 Mpa. The rate shall also include one coat of zinc rich primer and 2 Coats of enamel paint after properly cleaning the steel surface with wire brush, removing loose scales on the surface completely. ( Basic Rate- 70000/-) | MT | 60 |  | 0
12.2 | Supply of Metecno make sandwich panel Glamet 50mm with PUF as core material between the two sheet , Thickness of panel will be 50mm will be outer to outer . External & Internal sheet will be 0.4mm thick & external colour will be brick red & internal will be offwhite in colour . External sheet will have crest height of 38mm & the pitch distance will be 333.3mm , Internal sheet will have light groove with microribbed finish for aesthetic look & strength. Panels shall be manufactured in continous line as per DIN 4102/ IS standard B3 12436 . Panel shall be fixed using required SDST & stitching screws as per site requirement . Billing width will be 1.06 (Basic rate = Rs. 1350/Sqm) | Sqm | 1900 |  | 0
12.3 | Supplying and Fixing Alluminium gutter of 300x300mm size | RMT | 160 |  | 0
| Sub Total |  |  |  | 0
| TOTAL AMOUNT - CIVIL WORKS |  |  |  | 0
| GST 18% |  |  |  | 0
| Total amount Inclusive of GST |  |  |  | 0
0

## Sheet1
Sl no | Particulars | Nos | Length | Bredth | Depth | Qty | Remarks
RCC
Beams
| 2nd floor | 4 | 54.73 | 0.3 | 0.45 | 29.5542
|  | 4 | 46.97 | 0.3 | 0.45 | 25.3638
|  | 2 | 32 | 0.3 | 0.45 | 8.64
|  | 2 | 24 | 0.3 | 0.9 | 12.96
|  | 17 | 17.3 | 0.3 | 0.45 | 39.7035
| 3rd floor | 4 | 54.73 | 0.3 | 0.45 | 29.5542
|  | 4 | 46.97 | 0.3 | 0.45 | 25.3638
|  | 2 | 32 | 0.3 | 0.45 | 8.64
|  | 2 | 24 | 0.3 | 0.9 | 12.96
[5 empty] | Total | 192.7395 | Cum
Columns
| 2F | 56 | 0.3 | 0.6 | 3.5 | 35.28
|  | 34 | 0.3 | 0.3 | 3.5 | 10.71
| 3F | 56 | 0.3 | 0.6 | 3.5 | 35.28
|  | 34 | 0.3 | 0.3 | 3.5 | 10.71
[5 empty] | Total | 91.98 | Cum
| Slab | 1 | 1850 |  | 0.15 | 277.5
| Head room | 2 | 10 | 4 | 0.15 | 3
[5 empty] | Total | 280.5 | Cum
Staircase Concrete
1st to 2nd F
| ThirdFlight | 1 | 3.8 | 1.52 | 0.2 | 1.1552
| Mid Landing | 1 | 3.55 | 1.65 | 0.2 | 1.1715
| Mid Landing beam | 1 | 3.55 | 0.2 | 0.6 | 0.426
| Fourth Flight | 1 | 3.54 | 1.52 | 0.2 | 1.0762
| Steps | 11 | 1.52 | 0.3 | 0.15 | 0.7524
2nd to 3F
| ThirdFlight | 1 | 3.8 | 1.52 | 0.2 | 1.1552
| Mid Landing | 1 | 3.55 | 1.65 | 0.2 | 1.1715
| Mid Landing beam | 1 | 3.55 | 0.2 | 0.6 | 0.426
| Fourth Flight | 1 | 3.54 | 1.52 | 0.2 | 1.0762
| Steps | 11 | 1.52 | 0.3 | 0.15 | 0.7524
[5 empty] | Total | 9.1625 | Cum
Chejja
| 2F | 44 | 2.1 | 0.3 |  | 27.72
|  | 1 | 15 | 0.3 |  | 4.5
| 3F | 44 | 2.1 | 0.3 |  | 27.72
|  | 1 | 15 | 0.3 |  | 4.5
[5 empty] | Total | 64.44 | Sqm
Dummy Columns
|  | 56 | 0.3 | 0.6 | 1.2 | 12.096
|  | 34 | 0.3 | 0.3 | 1.2 | 3.672
[5 empty] | Total | 15.768 | Cum
Block masonary
200mm thick
| SF | 2 | 54 |  | 2.9 | 313.2
|  | 2 | 46 |  | 2.9 | 266.8
| Parapet | 2 | 54 |  | 1.2 | 129.6
|  | 2 | 46 |  | 1.2 | 110.4
31.6977
| 3F | 2 | 54 |  | 2.9 | 313.2 |  | 23.7732
|  | 2 | 46 |  | 2.9 | 266.8
| Parapet | 2 | 54 |  | 1.2 | 129.6
|  | 2 | 46 |  | 1.2 | 110.4
|  | 2 | 31 |  | 1.2 | 74.4
|  | 2 | 28 |  | 1.2 | 67.2
|  | -32 | 1.8 |  | 1.2 | -69.12
[5 empty] | Total | 1712.48 | Sqm
150mm thick
|  | 27 | 7.3 |  | 2.9 | 571.59
|  | 16 | 7.3 |  | 2.9 | 338.72
|  | 14 | 3.5 |  | 1.35 | 66.15
| Deductions | -23 | 1.2 |  | 2.9 | -80.04
|  | -16 | 1.8 |  | 1.5 | -43.2
|  | -16 | 2 |  | 1.5 | -48
[5 empty] | Total | 805.22 | Sqm
100mm thick
SF
| Ladies bath | 1 | 6.5529 |  | 2.4 | 15.7269
|  | 1 | 5.029 |  | 2.4 | 12.0695
|  | 11 | 1.2801 |  | 2.4 | 33.7946
| Ladies WC | 1 | 4.4194 |  | 2.4 | 10.6065
|  | 1 | 5.4861 |  | 2.4 | 13.1667
|  | 8 | 1.3715 |  | 2.4 | 26.3334
| Gents WC | 1 | 5.6385 |  | 2.4 | 13.5325
|  | 5 | 1.3715 |  | 2.4 | 16.4584
| Deduction | -20 | 0.75 |  | 2.1 | -31.5
3F
| Ladies bath | 1 | 6.5529 |  | 2.4 | 15.7269
|  | 1 | 5.029 |  | 2.4 | 12.0695
|  | 11 | 1.2801 |  | 2.4 | 33.7946
| Ladies WC | 1 | 4.4194 |  | 2.4 | 10.6065
|  | 1 | 5.4861 |  | 2.4 | 13.1667
|  | 8 | 1.3715 |  | 2.4 | 26.3334
| Gents WC | 1 | 5.6385 |  | 2.4 | 13.5325
|  | 5 | 1.3715 |  | 2.4 | 16.4584
| Deduction | -20 | 0.75 |  | 2.1 | -31.5
| Total |  |  |  |  | 220.377 |  | Sqm
Plastering works
2F
| Ceiling plastering |  |  |  | Total | 1900 | Sqm |  |  | 28000
Wall Plastering
| 2F | [8 empty] | 8416
| Wall Plastering | 19 | 7.5 | 7.8 | 2 | 1162.8 |  |  |  | 19584
| Wall Plastering | 4 | 7.5 | 3.5 | 2 | 176 |  |  |  | -11168
| Corridor | 4 | 38 |  | 2 | 304
| Corridor | 4 | 38 |  | 0.9 | 136.8 |  |  |  |  | 1820.0743
|  | 14 | 3.5 |  | 1.35 | 66.15
3F
| Wall Plastering | 14 | 7.5 | 7.8 | 2 | 856.8 |  |  |  | 0
| Wall Plastering | 3 | 7.5 | 7.8 | 2 | 183.6 |  |  |  | 0
| Wall Plastering | 1 | 38 | 27 | 3.35 | 435.5 |  |  |  | 0
| Corridor | 4 | 40 |  | 2 | 320 |  |  | 38.4029 | 27.4307
| Corridor | 4 | 40 |  | 0.9 | 144 |  |  |  |  | 0
|  | 14 | 3.5 |  | 1.35 | 66.15 |  |  | 38.4029
[5 empty] | Total | 3851.8 | Sqm
| Rough Plastering | 19 | 7.5 | 7.8 | 1.35 | 784.89
|  | 4 | 38 |  | 2 | 304
|  | 14 | 3.5 |  | 1.35 | 66.15
|  | 14 | 7.5 | 7.8 | 1.35 | 578.34
|  | 3 | 38 |  | 2 | 228
|  | 14 | 3.5 |  | 1.35 | 66.15
[5 empty] | Total | 1088.89 | Sqm
External Plastering
2F
|  | 2 | 54 |  | 3.5 | 378
|  | 2 | 46 |  | 3.5 | 322
3F
|  | 2 | 54 |  | 6.1 | 658.8
|  | 2 | 46 |  | 6.1 | 561.2
|  | 4 | 38 |  | 3.3 | 501.6 |  |  | 4.5
|  | 14 | 3.5 |  | 1.35 | 66.15
[5 empty] | Total | 2487.75 | Sqm
Tiles dado
2F
| Corridor | 2 | 38 |  | 1.35 | 102.6
|  | 2 | 24 |  | 1.35 | 64.8
|  | -22 | 1.2 |  | 1.35 | -35.64
|  | 21 | 7.6 | 7.8 | 1.35 | 873.18
| Staircase | 4 | 8.5 |  | 1.35 | 91.8
| Staircase | 2 | 3.6 |  | 1.35 | 19.44
3F
| Corridor | 2 | 38 |  | 1.35 | 102.6
|  | 2 | 24 |  | 1.35 | 64.8
|  | -22 | 1.2 |  | 1.35 | -35.64
|  | 21 | 7.6 | 7.8 | 1.35 | 873.18
| Staircase | 4 | 8.5 |  | 1.35 | 91.8
| Staircase | 2 | 3.6 |  | 1.35 | 19.44
[5 empty] | Total | 1116.18 | Sqm